## Slide 1
CARPL Architecture & Deployment Deep-Dive
MRI Prostate Segmentation Assistant (MRI PSA) Project
SGH Department of Data Science & Diagnostic Radiology
February 2026
1

## Slide 2
Agenda
1
What is CARPL?
Platform overview, capabilities, and why it matters
2
SGH Architecture & Data Flow
RAPIER, CARPL, CHROMA, Biobot Mona Lisa, UroFusion - how it all connects
3
MRI PSA Pipeline Deep-Dive
End-to-end data journey from PACS to biopsy planning
4
Deployment & MLOps Considerations
Monitoring, retraining, versioning, and operational concerns
5
Questions for CARPL & Radiology Teams
Critical unknowns for deployment readiness
2

## Slide 3
Part 1
What is CARPL?
Clinical AI Research & Production Lab
3

## Slide 4
CARPL: Clinical AI Research & Production Lab
What is CARPL?
CARPL is a cloud-based radiology AI platform that enables hospitals to:
  • Evaluate, deploy, and manage AI models in clinical radiology workflows
  • Integrate with hospital PACS/RIS systems for seamless data routing
  • Provide a standardised environment for AI model lifecycle management
  • Support DICOM-native input/output for clinical compatibility
Key Capabilities:
  • Model Deployment: Containerised AI model hosting (Docker/MAP containers)
  • Data Routing: Automated DICOM routing from PACS to AI models
  • Results Delivery: AI outputs pushed back to PACS/clinical viewers
  • Model Registry: Version-controlled model storage and deployment
  • Monitoring Dashboard: Track model performance and usage metrics
  • Multi-model Support: Run multiple AI models simultaneously
4

## Slide 5
Why CARPL Matters for SGH
Without CARPL
• Manual model deployment
• No standardised pipeline
• Difficult PACS integration
• No monitoring/logging
• Slow iteration cycles
• Compliance challenges
With CARPL
• Automated deployment
• Standardised Docker/MAP
• Native DICOM routing
• Built-in monitoring
• Rapid model updates
• Audit trail & governance
For MRI PSA
• Deploy NIH baseline model
• Route SGH prostate MRIs
• Return RTSTRUCT to PACS
• Track model performance
• Swap to SGH-trained model
• Scale across departments
5

## Slide 6
CARPL Platform Architecture
DICOM Router
Routes studies from PACS to AI models
Model Registry
Stores versioned Docker/MAP containers
Inference Engine
Runs AI models on incoming DICOM data
Results Manager
Formats & returns outputs to PACS
Monitoring &
Analytics
Tracks throughput, latency, errors
Admin Console
User management, model config, audit
Data Store
Temporary DICOM storage & caching
Integration APIs
REST/DICOM interfaces for external systems
6

## Slide 7
Part 2
SGH Architecture & Ecosystem
RAPIER, CARPL, CHROMA, Biobot, Mona Lisa, UroFusion
7

## Slide 8
Key Systems & Stakeholders in the MRI PSA Ecosystem
RAPIER
Radiology-Pathology Information Exchange Resource (AISG-funded infrastructure project)
CARPL
Clinical AI Research & Production Lab (Radiology AI deployment platform)
CHROMA
SGH Supercomputer Cluster (Model training compute resource)
Biobot
Biobot Surgical Pte Ltd (Robotic biopsy system manufacturer)
Mona Lisa
Biobot's MRI-guided Targeted Biopsy Robot (Surgical system)
UroFusion
Biobot's Software Suite (Contouring, planning, DICOM RTSTRUCT import)
Synapxe: IT infrastructure provider; approved the CARPL platform deployment within SGH Diagnostic Radiology
8

## Slide 9
How the Systems Connect: Logical Architecture
Clinical PACS
(SGH Radiology)
TTP
De-identification
RAPIER / CARPL
(AI Platform)
AI Model
(Docker/MAP Container)
Inference Results
(RTSTRUCT / NIfTI)
Radiologist Review
& Refinement (UroFusion)
Curated Dataset
(Refined Contours)
CHROMA
(SGH Supercomputer)
SGH-Optimised Model
(Retrained)
Biobot Mona Lisa Robotic System ← Vetted RTSTRUCT from radiologist
All imaging data remains within SGH campus (no third-party transfers). CARPL workstation sited in Dept of Diagnostic Radiology with restricted access.
9

## Slide 10
End-to-End Data Flow: From Patient Scan to Biopsy Planning
1. Patient MRI Scan
mpMRI acquired at SGH (T2W, ADC, DWI)
2. PACS Storage
DICOM study stored in clinical PACS
3. TTP De-identification
Trusted Third Party removes patient identifiers
4. CARPL Ingestion
De-identified DICOM routed to CARPL platform
5. AI Inference
MRI PSA model processes study (organ + lesion seg)
6. RTSTRUCT Export
Segmentation masks converted to DICOM RTSTRUCT
7. Radiologist Review
Specialist reviews & refines contours in UroFusion
8. Mona Lisa Import
Vetted contours imported into robotic biopsy system
10

## Slide 11
Infrastructure: Where Does Everything Live?
SGH Clinical Network (On-Premises)
• Clinical PACS (DICOM archive)
• Radiology Information System (RIS)
• Clinical Workstations
• Synapxe-managed network
SGH Research Zone (On-Premises / Restricted)
• RAPIER / CARPL Platform (AI workstation)
• De-identified DICOM storage
• Model inference environment
• Sited in Dept of Diagnostic Radiology
SGH Compute (CHROMA Cluster)
• GPU-accelerated training nodes
• Model training & validation
• Experiment tracking
• Dataset version management
Biobot Systems (External/On-site)
• UroFusion software (contouring)
• Mona Lisa robotic system
• RTSTRUCT import capability
• Surgical planning interface
Data Sovereignty: All patient data (even de-identified) remains within SGH campus. No cloud transfers. CARPL is an on-premises deployment approved by Synapxe.
11

## Slide 12
MRI PSA Pipeline: MONAI Deploy DAG Architecture
DICOM
Data Loader
Load DICOM studies
Series
Selector
Regex-based T2/ADC/HIGHB
Series to
Volume
Convert to 3D in-memory images
Organ Seg
(Prostate)
RAS, 1.0mm Sliding window
Lesion Seg
(5-Fold)
0.5mm, ROI crop RRUNet3D
PI-RADS
Classifier
3D ResNet 64³ crops
RTSTRUCT
Export
NIfTI → DICOM RT Structure
MONAI Deploy DAG: DICOMDataLoaderOperator → DICOMSeriesSelectorOperator → DICOMSeriesToVolumeOperator → ProstateSegOperator → ProstateLesionSegOperator → ProstateLesionClassifierOperator
Key Details:
• Organ Seg: T2-only input, RAS orientation, 1.0mm isotropic, sliding window ROI (128,128,16), 50% overlap, TorchScript model
• Lesion Seg: T2+ADC+HIGHB (3ch), 0.5mm isotropic, organ-masked ROI with 32-voxel margin, 5-fold RRUNet3D ensemble, threshold=0.6345
• Classifier: 3D ResNet on 64³ crops per lesion, 4-class → PI-RADS 2-5, rule: PI-RADS 4 + axis>40mm → PI-RADS 5
• RTSTRUCT: Hole-filled contours exported as DICOM RT Structure Set, verified in 3D Slicer
12

## Slide 13
Model Inventory & Artifacts
7 Models in the MRI PSA Pipeline
Model
Path
Format
Input
Output
Arch
Resolution
Organ Segmentation
models/organ/model.ts
TorchScript
T2 (1ch)
3-class (BG/TZ/PZ)
RRUNet3D
1.0mm isotropic
Lesion Seg Fold 0
models/fold0/model_best_fold0.pth.tar
PyTorch
T2+ADC+HIGHB (3ch)
2-class (BG/Lesion)
RRUNet3D
0.5mm isotropic
Lesion Seg Fold 1
models/fold1/model_best_fold1.pth.tar
PyTorch
T2+ADC+HIGHB (3ch)
2-class (BG/Lesion)
RRUNet3D
0.5mm isotropic
Lesion Seg Fold 2
models/fold2/model_best_fold2.pth.tar
PyTorch
T2+ADC+HIGHB (3ch)
2-class (BG/Lesion)
RRUNet3D
0.5mm isotropic
Lesion Seg Fold 3
models/fold3/model_best_fold3.pth.tar
PyTorch
T2+ADC+HIGHB (3ch)
2-class (BG/Lesion)
RRUNet3D
0.5mm isotropic
Lesion Seg Fold 4
models/fold4/model_best_fold4.pth.tar
PyTorch
T2+ADC+HIGHB (3ch)
2-class (BG/Lesion)
RRUNet3D
0.5mm isotropic
PI-RADS Classifier
models/classifier/model_best.pth.tar
PyTorch
5ch (T2+ADC+HIGHB+organ+lesion)
4-class (PI-RADS 2-5)
3D ResNet
0.5mm, 64³ crops
13

## Slide 14
Data Engineering: Series Selection & Preprocessing
• DICOM Series Selection (Regex-based Rules):
  • T2-Weighted: Matched via SeriesDescription (e.g., "t2", "T2W", "T2_TSE")
  • ADC Map: Matched via ImageType containing "ADC" or SeriesDescription patterns
  • High b-value DWI: Matched via b-value tags or SeriesDescription ("HIGHB", "b1500", etc.)
  • Rules tuned for ProstateX naming; must be adapted for SGH naming conventions
• Geometry Standardisation:
  • T2 reoriented to RAS (Right-Anterior-Superior)
  • Organ seg: resample to 1.0mm isotropic
  • Lesion seg: ADC/HIGHB aligned to T2 geometry (SimpleITK), then all to 0.5mm isotropic
  • ROI computed from organ mask with 32-voxel margin
• Data Volume Estimates (SGH):
  • 1 scan: ~9.55 MB (T2W + ADC + 4 DWIs), or ~6.56 MB (T2W + ADC + DWI high only)
  • 5,000 scans: ~32-47 GB (uncompressed DICOM)
  • Entire study (incl. all series): ~3,000 images per study sent to CARPL
• Critical Consideration for SGH Deployment:
  • Series naming varies across scanners and protocols
  • Must validate regex rules against SGH DICOM metadata
  • Fallback/QA strategy needed for unmatched series
14

## Slide 15
Part 3
Deployment, MLOps & Operational Readiness
15

## Slide 16
Deployment Architecture: How We Run the Model
• Containerised Deployment (Docker / MONAI Application Package):
  • Model packaged as MAP (MONAI Application Package) using Holoscan CLI
  • Contains: model weights, inference code, dependencies, DICOM I/O logic
  • Reproducible and portable across environments
  • GPU-accelerated inference (NVIDIA GPU with ≥12 GB VRAM recommended)
• CARPL Integration:
  • MAP deployed on CARPL infrastructure within SGH
  • DICOM studies routed from PACS to CARPL automatically
  • Inference results (RTSTRUCT) pushed back to PACS or viewer
  • We (DDS team) are the primary operators of the deployed model
• Build & Run Commands:
  • Local: ./scripts/test_local.sh -i <input> -o <output> -m <models>
  • MAP Build: ./scripts/test_MAP.sh -i <input> -o <output> -m <models> -b
  • MAP Run: ./scripts/test_MAP.sh -i <input> -o <output> -m <models>
• Resource Requirements:
  • GPU: NVIDIA with ≥12 GB VRAM (inference)
  • CPU: Multi-core for DICOM processing and SimpleITK resampling
  • Storage: Temporary DICOM + NIfTI outputs per study (~50-100 MB per case)
  • Network: DICOM routing between PACS and CARPL workstation
16

## Slide 17
MLOps & Monitoring Considerations
Model Lifecycle Management
• Model Versioning:
  • Track model checkpoints with hashes
  • Pin deployed model version on CARPL
  • Maintain rollback capability
• Retraining Pipeline:
  • Curated SGH dataset → CHROMA training
  • 5-fold cross-validation protocol
  • Validation on held-out test set
  • Performance benchmarking vs baseline
• Model Registry:
  • Store model artifacts + configs
  • Code commit hash per release
  • Dataset version linked to model
Monitoring & Operations
• Performance Monitoring:
  • Inference latency per case
  • Success/failure rate
  • Series selection hit rate
  • GPU utilisation metrics
• Quality Monitoring:
  • Radiologist correction frequency
  • Dice score vs manual contours
  • Drift detection (input distribution)
  • Failure mode logging
• Alerting:
  • Pipeline failures / timeouts
  • Missing series detection
  • Output QA checks (empty masks, etc.)
17

## Slide 18
Retraining Workflow: From Feedback to Improved Model
1. Collect
Feedback
Radiologist corrections stored as ground truth
2. Curate
Dataset
QA annotations Version dataset
3. Train on
CHROMA
5-fold CV DiceCE + Novograd
4. Validate &
Benchmark
Held-out test set vs. baseline model
5. Package
MAP
Containerise new model weights
6. Deploy to
CARPL
Swap model version Monitor performance
Training Configuration (Current / Baseline)
• Architecture: RRUNet3D (residual + recurrent + attention UNet)
• Loss: DiceCELoss | Optimizer: Novograd | Scheduler: OneCycleLR
• Training: batch_size=1, max_epochs=500, dropout=0.15, 5-fold CV
• Organ: in_ch=1 (T2), out_ch=3 (BG/TZ/PZ), 1.0mm
• Lesion: in_ch=3 (T2+ADC+HIGHB), out_ch=2 (BG/lesion), 0.5mm
• Compute: SGH CHROMA supercomputer cluster (GPU nodes)
18

## Slide 19
Data Governance, Security & Compliance
• De-identification Protocol:
  • Trusted Third Party (TTP) extracts DICOM and removes patient identifiers
  • Compliant with SingHealth policy
  • Researchers blinded to patient identifiers throughout
• Data Sovereignty:
  • All imaging data remains within SGH campus
  • No third-party cloud transfers
  • CARPL workstation physically sited in Dept of Diagnostic Radiology
  • Restricted access (approved by Synapxe)
• IRB & Regulatory:
  • IRB Reference: 2025-1468
  • IRB Exemption obtained (Oct 2025)
  • Research Collaboration Agreement between SGH and Biobot
  • SGH Innovation Grant 2025 (ends Sep 2026)
• IP & Collaboration:
  • Foreground IP jointly owned by SGH and Biobot (equal undivided share)
  • Background IP remains with originating party
  • DICOM-standard outputs ensure interoperability
  • Open-source NIH model used as baseline (publicly available)
19

## Slide 20
Part 4
Questions for CARPL & Radiology Teams
Critical unknowns we must clarify before deployment
20

## Slide 21
Questions: Data Flow & CARPL Integration
Data Routing & Ingestion:
• How are DICOM studies routed from PACS to CARPL? (Push/pull? Manual trigger or automated rule?)
• Is there a DICOM node/listener on CARPL that accepts incoming studies?
• Can we filter at the PACS level to only send prostate MRI studies, or does CARPL receive everything?
• What happens if the full study (~3000 images) is sent but we only need T2W, ADC, DWI high?
• Does CARPL handle series-level filtering, or must our model container do all filtering?
CARPL Platform Specifics:
• What container runtime does CARPL use? (Docker, Podman, containerd?)
• What GPU is available on the CARPL workstation? (Model/VRAM)
• Is there a model registry/versioning system built into CARPL?
• How do we deploy a new model version? (CLI, web UI, API?)
• What are the storage limits for temporary inference data?
Results Delivery:
• How are RTSTRUCT results returned to PACS/clinical viewers?
• Can CARPL push RTSTRUCT directly to UroFusion, or must it go via PACS?
• What DICOM conformance checks does CARPL perform on outputs?
• How do radiologists access the AI outputs? (Separate viewer, PACS overlay, UroFusion?)
21

## Slide 22
Questions: Operations, Monitoring & Support
Operational Responsibility (We are the main operators!):
• Who has SSH/admin access to the CARPL workstation?
• What is the escalation path if the model container crashes or hangs?
• Is there 24/7 monitoring, or do we rely on manual checks?
• How do we handle model failures gracefully? (Fallback to manual workflow?)
• What SLA/uptime expectations exist for the AI model service?
Monitoring & Logging:
• Does CARPL provide built-in logging for inference requests and results?
• Can we access container logs (stdout/stderr) for debugging?
• Is there an alerting mechanism for failures or anomalies?
• Can we track inference latency, throughput, and GPU utilisation over time?
• How do we detect data drift or degraded model performance in production?
Maintenance & Updates:
• What is the process to update model weights without rebuilding the full container?
• Can we do hot-swaps of model versions, or is downtime required?
• Who manages OS/driver updates on the CARPL workstation?
• How are security patches applied to the inference environment?
• What backup/recovery procedures exist for the CARPL workstation?
22

## Slide 23
Questions: Data Engineering & MLOps
Data Storage & Management:
• Where are de-identified DICOM studies stored long-term on CARPL? (Local disk, NAS, object store?)
• What is the retention policy for inference inputs and outputs?
• How do we manage the growing dataset of radiologist-corrected contours for retraining?
• Is there a structured database linking studies to inference results and radiologist feedback?
• How do we export curated datasets from CARPL to CHROMA for training?
Retraining & Model Lifecycle:
• What is the expected retraining cadence? (Monthly, quarterly, on-demand?)
• How do we transfer training data securely between CARPL and CHROMA?
• Is there an automated pipeline for model validation before deployment?
• How do we run A/B testing between old and new model versions?
• What governance is needed to approve a model version for clinical use?
Data Quality & Edge Cases:
• How do we handle studies with missing series (e.g., no high b-value DWI)?
• What if the series selection regex fails on SGH-specific naming conventions?
• How do we handle multi-scanner/multi-protocol variability across SGH?
• What QA checks should run automatically before inference proceeds?
• How do we log and track failed/rejected studies for root-cause analysis?
23

## Slide 24
Questions: Clinical Workflow & Radiology Integration
Radiologist Workflow:
• At what point in the reporting workflow should AI contours appear?
• Should the AI run automatically on all prostate MRIs, or only on-demand?
• How long is acceptable latency from scan completion to AI contour availability?
• What is the expected review/refinement time per case with AI contours?
• How do we capture radiologist corrections in a structured, machine-readable format?
Biobot / UroFusion Integration:
• What DICOM RTSTRUCT fields does UroFusion require for import?
• Does UroFusion validate the RTSTRUCT geometry against the original DICOM series?
• Can UroFusion handle multi-class organ contours (TZ/PZ), or only whole-gland?
• What is the expected data format for lesion annotations in UroFusion?
• How does Mona Lisa ingest the final vetted contours from UroFusion?
Clinical Validation:
• What metrics will radiology use to evaluate AI contour quality? (Dice, HD95, visual?)
• How many cases are needed for initial clinical validation on SGH data?
• Is there a planned reader study or inter-rater variability assessment?
• What is the process to escalate AI failures to the development team?
• How do we ensure the AI does not introduce systematic bias in contours?
24

## Slide 25
Questions: Scalability & Future Considerations
Scaling the Pipeline:
• What is the expected throughput? (Cases per day/hour)
• Can CARPL handle concurrent inference requests, or is it sequential?
• What happens during peak radiology hours? (Queuing, priority, throttling?)
• Is there capacity for batch processing (e.g., backlog of historical cases)?
• Can we scale to multiple CARPL workstations if demand grows?
Multi-Model Deployment:
• Can CARPL host multiple AI models simultaneously? (e.g., prostate + other organs)
• How are models isolated from each other? (Separate containers, shared GPU?)
• Is there a scheduling/orchestration layer for multi-model workflows?
Future Roadmap:
• Will CARPL support model marketplace / sharing between institutions?
• Is federated learning a consideration for multi-site model improvement?
• Can CARPL integrate with experiment tracking tools (MLflow, W&B)?
• What is the CARPL team's roadmap for new features and integrations?
• Is there a community/user group for CARPL best practices?
Cost & Sustainability:
• What are the ongoing operational costs for running CARPL?
• Who funds the GPU hardware refresh cycle?
• What is the licensing model for CARPL platform updates?
• How does this compare to commercial AI solutions (e.g., Lucida Medical at USD$50/case)?
25

## Slide 26
Priority Questions Matrix: Who to Ask What
CARPL Team
• DICOM routing configuration
• Container runtime & GPU specs
• Model deployment process
• Monitoring & logging capabilities
• Storage & retention policies
Radiology Team
• Workflow integration point
• Acceptable latency / SLA
• Annotation capture format
• Clinical validation protocol
• Reader study design
Biobot Team
• RTSTRUCT import requirements
• UroFusion compatibility
• Mona Lisa data ingestion
• Multi-class contour support
• End-to-end testing plan
DDS Team (Us)
• Series selection for SGH data
• Model retraining schedule
• Performance monitoring plan
• Failure handling procedures
• Dataset versioning strategy
26

## Slide 27
Project Timeline (SGH Innovation Grant 2025)
Oct 2025
IRB Exemption
COMPLETED
Dec 2025
Establish Partnership Agreement (SGH-Biobot)
COMPLETED
Jan 2026
SGH Data Extraction
IN PROGRESS
Jan 2026
Onboard NIH Model to CARPL
IN PROGRESS
Mar 2026
Biobot UroFusion Import Capability
PLANNED
Jun 2026
Generate & Refine Contours (Curated Dataset)
PLANNED
Aug 2026
Train SGH-Optimised Model on CHROMA
PLANNED
Aug 2026
Onboard SGH Model to CARPL
PLANNED
Sep 2026
Trial Deployment in SGH Radiology
TARGET
27

## Slide 28
Thank You
Questions & Discussion
SGH Department of Data Science & Diagnostic Radiology
MRI PSA Project | SGH Innovation Grant 2025
28